FIRE ALARM SYSTEM MONTHLY TEST RECORD

Every month the following tests shall be conducted and if a fault is established appropriate corrective action shall be taken.  (Initial each area.)

| Month | (A) Manual Pull Stations | (B) Bells | (C) Annunciator | (D) Trouble Signal | (E) Battery Condition | Date (mm/dd/yy) | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |
| January |  |  |  |  |  |  |  |
| February |  |  |  |  |  |  |  |
| March |  |  |  |  |  |  |  |
| April |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |
| June |  |  |  |  |  |  |  |
| July |  |  |  |  |  |  |  |
| August |  |  |  |  |  |  |  |
| September |  |  |  |  |  |  |  |
| October |  |  |  |  |  |  |  |
| November |  |  |  |  |  |  |  |
| December |  |  |  |  |  |  |  |

(A)	One (1) alarm initiating pull station device shall be operated on a rotational basis and shall initiate an alarm condition.

(B)	Intended function of all alarm audible signal appliances (bells) shall be ensured.

(C)	The annunciator panel shall be checked to ensure that the tested devices annunciate correctly.

(D)	Intended function of audible and visual trouble signals shall be ensured.

(E)	Fire alarm batteries shall be visually inspected.

Suite 128, 11180 Coppersmith Place,

Richmond, British Columbia  V7A 5G8

Telephone:  (604) 275-0075

Facsimile:  (604) 207-2481

Email:  info@acefireprevention.com